## ราคาติดตั้ง
ใบราคาผู้เหมา
Service Price Book for Site Consolidation/Installation/Swap | Service Price Book for Site Consolidation/Installation/Swap
Example Site Model and estimated Service BoQ
Item | Services Description | Activity ID | Service Code | Short Description (in PO) | Unit | Service Price (THB exclude VAT) | Example 1 | Example 2 | Example 3
1 | Survey and site document |  |  | Survey and site document
1.01 | Site Survey and Survey report as Ericsson solution with handsketch redmarks, include RF parameter | ACT_1_554473 | GNA2041591/T23 | Site Survey&Report Handsketch, redmarks | Site | 2142 | Optional | Optional | Optional
1.02 | Site Survey and Survey report as Ericsson solution with autoCAD drawing, include RF parameter | ACT_1_554474 | GNA2041592/T23 | Site Survey & Report with AutoCAD | Site | 2501 | Optional | Optional | Optional
1.03 | Site folder-Ericsson Standard for acceptance with the custome | ACT_1_554475 | GNA2041593/T23 | Site folder, As-Built Drawing w/Cert | Site | 500 | 1 | 1 | 1
2 | Transportation |  |  | Transportation
2.01 | Transportation from Ericsson or ASP Regional Warehouse to Site | ACT_1_554476 | GNA3122510/T23 | Transportation from Region WH to Site | Site | 500 | 1 | 1 | 1
3 | BTS Installation (MU/BU ) |  |  | BTS Installation (Main Unit/Baseband )
3.01 | Installation Baseband or Main Unit(MU) with it's Digital Unit cards. Install all related cables with labeling and power up with voltage check. | ACT_1_554477 | GNA2268132/T23 | Installation Main Unit or Basebandการติดตั้งยูนิตหลักหรือเบสแบนด์ | Baseband | 800 | 4 | 3 | 3
3.02 | Relocate Baseband/Main Unit between enclosure at the same site with configuration & report ( per BB or MU set) | ACT_1_554478 | GNA2268133/T23 | Relocate MU between Cabinet, same siteย้าย MU ระหว่าง Cabinet ไซต์เดียวกัน | Site | 850
3.03 | Install Digital Unit card in existing MU box ( i.e. BB5216, BBR212, R503, DUS) and wiring cable upto 4 cards | ACT_1_554479 | GNA2268134/T23 | Install 1-4 card & Re-Wiring (per site)ติดตั้งการ์ด 1-4 ใบและเดินสายใหม่ (ต่อไซต์) | Site | 600
3.04 | Replace Radio Digital Unit Card (i.e. DUS/BB5212 to BB5216, DUL20 with DUS31 ) up to 4 cards, including wiring internal or between cabinets. Exclude tower climbing | ACT_1_554480 | GNA2268135/T23 | Replace 1-4 cards & Re-Wiring (per site)เปลี่ยนการ์ด 1-4 ใบและเดินสายใหม่ (ต่อไซต์) | Site | 600
4 | Outdoor Installation |  |  | Outdoor Installation
4.1 | Antenna & RRU / AIR |  |  | Antenna & RRU / AIR
4.1.1 | Basic Charge for Antenna with RRU, or AIR installation service 1st sector (one time charge per site) | ACT_1_554481 | GNA2268136/T23 | Basic Charge Antenna&RRU/AIR 1st sectorเสาอากาศชาร์จพื้นฐาน&RRU/AIR ภาคที่ 1 | Site | 3000 | 1 | 1 | 1
4.1.2 | Installation of 1 Unit of AIR (Antenna Integrated Radio) including OIL and DC cables connect to MU/Baseband with labeling. | ACT_1_554482 | GNA2212630/T23 | Install AIR and cabling 1 sectorติดตั้ง AIR และสายเคเบิล 1 เซกเตอร์ | Sector | 1000 | 3
4.1.3 | Installation 1 unit of Antenna and 1 unit of RRU, including RET, RF Jumper cables, clamps, and hardware - cables labeling installation. Install cables to connect with Baseband unit or Main unit. | ACT_1_554483 | GNA2212631/T23 | Install 1Antenna-1RRU & cabling 1sectorติดตั้ง 1Antenna-1RRU และสายเคเบิล 1sector | Sector | 1300 |  | 6 | 3
4.1.4 | Installation of Antenna, include RET, and RF Jumper cables, connect to RRU, and labeling | ACT_1_554484 | GNA2212632/T23 | Install New Antennaติดตั้งเสาอากาศใหม่ | Antenna | 600 | 3
4.1.5 | Installation Cascade RRU on tower including RF Jumper to Antenna and Power cable, connect to DC BOX on the tower (use cascade RRU cable) | ACT_1_554485 | GNA2212633/T23 | Install Cascade RRU on towerติดตั้ง Cascade RRU บนหอคอย | Unit | 400 |  |  | 3
4.1.6 | Installation of RRU to connect with existing Antenna. Installation include OIL cable, power cable, labeling, and cable clamps, run from RRU on the tower to Baseband or Main Unit. (expansion, no new Antenna installation required) | ACT_1_554486 | GNA2212634/T23 | Install RRU OIL DC cabling to BBUติดตั้งสายเคเบิล RRU OIL DC เข้ากับ BBU | Pc | 500 | 9 |  | 3
4.1.9 | GPS Installation completed set with RF cable in stallation , exclude material | ACT_1_554489 | GNA2212637/T23 | GPS Installation excl. materialการติดตั้ง GPS ไม่รวมวัสดุ | PC | 400 | 1 | 1 | 1
4.1.10 | Dismantle or Install Passive Device or small RRU PSU, diplexer, filter, Combiner | ACT_1_554490 | GNA2212638/T23 | Installation Passive Deviceการติดตั้งอุปกรณ์แบบพาสซีฟ | Pc | 306
4.2 | Outdoor Small Cell/ Micro Cell on Pole Or Wall H < 10m. |  |  | Outdoor Small Cell/ Micro Cell on Pole Or Wall H < 10m.
4.2.1 | Installation 1 RRUson electrical Pole or wall including OIL and power cable from RRUs to Baseband or Main Unit | ACT_1_554491 | GNA2212639/T23 | Install RRU on Concretel Pole / wallติดตั้ง RRU บนเสา / ผนังคอนกรีต | set | 1326.85
4.2.2 | Installation RRU 1 sector for In-building site (height < 5m.)including Jumper connecting to RRU, OIL cable and power cable from Baseband or Main Unit to RRUs, Jumper connect to DAS (no Antenna, RRU at Ground floor) | ACT_1_554492 | GNA2212640/T23 | Install RRU 1 sector IBC connect to DASติดตั้ง RRU 1 sector IBC เชื่อมต่อกับ DAS | Sector | 1090.55
4.2.3 | Installation 1 small Cell RRU with 1 Antenna on electrical Pole or wall including OIL and power cable from Baseband or Main Unit to RRUs | ACT_1_554493 | GNA2212641/T23 | Install smallRRU+Antenna on Pole/wallติดตั้ง smallRRU+Antenna บนเสา/ผนัง | set | 1326.85
5 | Commissioning, Integration and System Test |  |  | Commissioning, Integration and System Test
5.02 | Integration Support onsite with Pre script uploaded baseband, using Android phone connect to BB via ethernet adapter and patchcord (estimate 20-30 mins per Baseband, no laptop required) | ACT_1_554495 | GNA2291229/T23 | Integration Support onsite Pre-stagingการสนับสนุนการบูรณาการ Pre-staging ในสถานที่ | BB | 300 | 4 | 3 | 3
5.03 | Commisioning for remote site and all relevant site data (Remote-Donor) Charged at Donor site, including transportation at both donor and remote sides ** Apply on 1st BBU commissioning. The next baseband, refer to item 5.01 or 5.02. | ACT_1_554496 | GNA2291230/T23 | Commisioning verification remote & Donorการตรวจสอบ commisioning ระยะไกล & ผู้บริจาค | Unit | 1600
5.04 | Test and Acceptance (alarm testing, Cross-sector check using SRS, Site data collection, site report, acceptance with Ericsson) | ACT_1_554497 | GNA2291231/T23 | Test and Acceptanceการทดสอบและการยอมรับ | Site | 1000 | 1 | 1 | 1
5.05 | On site PAT with Customer (upon Ericsson confirmation) | ACT_1_554498 | GNA2291232/T23 | On site PAT with CustomerPAT นอกสถานที่กับลูกค้า | Site | 1020 | Optional | Optional | Optional
6 | DC Power System |  |  | DC Power System
6.01 | Installation Power System complete system with Battery installation, accessories and configuration (Indoor/Outdoor) include battery 4 banks. Price include extra handling and transportation | ACT_1_554500 | GNA3010447/T23 | Install Power System with Battery 4 bankติดตั้งระบบไฟฟ้าพร้อมแบตเตอรี่ 4 แบตเตอรี | Site | 3000 | 1
6.02 | Add/Remove Rectifier Module (expansion) | ACT_1_554501 | GNA220824/T23 | Add/Remove Rectifier Moduleเพิ่ม/ลบโมดูลวงจรเรียงกระแส | Site | 200 | 1
6.03 | Add Battery 1 Bank (expansion) | ACT_1_554502 | GNA220825/T23 | Add Battery 1 bankเพิ่มแบตเตอรี่ 1 ธนาคาร | Site | 887.4
6.04 | Add Battery 2 Bank (expansion) | ACT_1_554503 | GNA220826/T23 | Add Battery 2 banksเพิ่มแบตเตอรี่ 2 แบงค์ | Site | 1185.75
6.05 | De-installation of one Battery bank (AGM or Lithium), accessories and cables. Include clean, pack, and return to Ericsson/Customer regional warehouse. | ACT_1_554504 | GNA3053899/T23 | Dismantle of Battery 1 bankการรื้อแบตเตอรี่ 1 ธนาคาร | Site | 425
6.06 | De-installation of two Battery bank (AGM or Lithium) accessories and cables. Include packing and return hardware to Ericsson or Customer regional warehouse. | ACT_1_554505 | GNA3053900/T23 | Dismantle of Battery 2 bankรื้อแบตเตอรี่ 2 แบงค์ | Site | 850
6.07 | Replace Battery 1 Bank | ACT_1_554506 | GNA220827/T23 | Replace Battery 1 bank with 1 bankเปลี่ยนแบตเตอรี่ 1 ธนาคารด้วย 1 ธนาคาร | Site | 1185.75
6.08 | Replace Battery 1 Bank with 2 Banks (AGM or Lithium) | ACT_1_554507 | GNA220828/T23 | Replace Battery 1 bank with 2 banksเปลี่ยนแบตเตอรี่ 1 ธนาคารด้วย 2 ธนาคาร | Site | 1782.45
6.09 | Replace Battery 2 bank with 2 banks (AGM or Lithium) | ACT_1_554508 | GNA220829/T23 | Replace Battery 2 banks with 2 banksเปลี่ยนแบตเตอรี่ 2 ธนาคารด้วย 2 ธนาคาร | Site | 2371.5
6.1 | Installation Small Cell Power System, or Pad power or outdoor UPS, complete system with Battery and ground cabling with configuration (Set-Small Cell Power Module and Battery) | ACT_1_554509 | GNA220830/T23 | Install SmallCell Power System & Batteryเปลี่ยนแบตเตอรี่ 2 ธนาคารด้วย 2 ธนาคาร | Set | 850
6.11 | Power system software upgrade old Power system to enable Lithium battery with the system (revisit) - upgrade firmware new version - upload file configuration file - set battery capacity (AGM battery work only) - set battery current charge - set battery stolen alarm for working with LitH battery | ACT_1_554510 | GNA2291234/T23 | Power system SW upgrade-Lithium batteryระบบไฟฟ้า SW อัพเกรด-แบตเตอรี่ลิเธียม | Site | 650.25
6.12 | Install DC Booster card, exclude configuration | ACT_1_554511 | GNA2268137/T23 | Install DC Booster card, exclude configurationติดตั้งการ์ด DC Booster ไม่รวมการกําหนดค่า | Unit | 200 | 1 | 1 | 2
7 | Equipment Dismantle (Clean, list equipment name - site, Plastic pack include delivery to ASPs wareshouse ) |  |  | Equipment Dismantle (Clean, list equipment name - site, Plastic pack include delivery to ASPs warehouse )
7.1.10 | Dismantle or Install Passive Device or small RRU PSU, diplexer, filter, Combiner | ACT_1_554521 | GNA3053910/T23 | Dismantle Passive Deviceรื้ออุปกรณ์แบบพาสซีฟ | Pc | 200 | 2
[6 empty] | 14050 | 22700 | 16900 | 13200
เงื่อนไข :ตั้งเบิกก่อนวันอังคาร ออกวันศุกร์ (ตั้งเบิกวันพุธ จะ ออกวันศุกร์ ของอาทิตย์ต่อไป) ถ้าวันศุกร์ตรงกับวันหยุด จะต้องเลื่อนออกไปในวันทำการ
1.วางบิล 60% ติดตั้งแล้วเสร็จทั้งหมด และทำการ commisioning ระบบ แล้วเสร็จ
**หมายเหตุกรณีที่รูปหน้างานในอัลบั้มไม่ครบสำหรับการทำเล่ม จะไม่สามารถ วางบิล20% ได้ จะเบิกได้เมื่อมีข้อมูลทำเล่ม PAT สมบูรณ์แล้ว**
2. วางบิล 20% เมื่อทำการ ส่งงาน และแก้ไข Defficiency แล้วเสร็จ
3. ทางบริษัท จะทำการภาษี 3% ต่อทีมงานได่ที่ต้อง
Note on E43: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Integration has to be sequential to limit network downtime. Price will be paid per baseband
Note on B58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: case upgrade AGM to Lith battery

## ราคารื้อถอน
RFQ for - Site dismantle
Example Site Model and Service BoQ
Item | Type Site | Activity ID | Service Code | Short Description | Charging Unit | Service Price (THB exclude VAT) | Example 1 | Example 2 | Example 3 | Example 4
A | Main Work: The brief Scope includes dismantling Antenna, RRU and it's related parts such as RET, Jumpers, cables, clamps, Passive devices (combiner, diplexer, Filter, TMA etc.), DC Box on tower, and/or DC PDB Box and grounding kits. Scope include packing and reporting as per Ericsson's Scope of work and return back to ASP warehouse for Ericsson pickup. |  |  |  | sector |  | 9 | 12 | 10 | 19
1 | Dismantle 1-3 Antenna and 1-3 RRU | ACT_1_554539 | GNA3053912/T23 | Complete Dismantle upto 3 Antenna 3 RRUรื้อถอนอย่างสมบูรณ์ไม่เกิน 3 เสาอากาศ 3 RRU | Site | 3600 | 1 | 1 | 1 | 1
B | Subsequence Services : In case of additional scope or qty extra than the Main Work is Required
2 | Dismantle 1 Antenna and 1 RRU (Same Scope as main work, item A) | ACT_1_554540 | GNA3053913/T23 | Subsequence Full Dismantle 1 sectorลําดับย่อย รื้อเต็ม 1 ภาค | sector | 600 | 6 | 9 | 7 | 16
3 | Dismantle Baseband or Main Unit with its cards and cables | ACT_1_554512 | GNA3053901/T23 | Dismantle Main Unit or Basebandถอดยูนิตหลักหรือเบสแบนด์ | Unit | 300 | 3 | 4 | 3 | 3
4 | Dismantle AIR (Antenna Integrated Radio) with cables and clamps | ACT_1_554515 | GNA3053904/T23 | Dismantle AIR , Cables and clampsรื้อ AIR , สายเคเบิลและที่หนีบ | Set | 300 | 0 | 0 | 0 | 0
5 | Dismantle Antenna with Jumpers and RET | ACT_1_554514 | GNA3053903/T23 | Dismantle Antenna with Jumpers and RETถอดเสาอากาศด้วยจัมเปอร์และ RET | Set | 300
6 | Dismantle RRU with cables and clamps | ACT_1_554517 | GNA3053906/T23 | Dismantle RRU with OIL&DC Cables, Clampsถอด RRU ด้วยสาย OIL&DC, Clamps | Set | 300
7 | Dismantle Power Enclosure (completed set with batteries and cables) | ACT_1_554541 | GNA3053914/T23 | Dismantle Power Cabinet completed setรื้อตู้ไฟครบชุด | Cabinet | 1000 | 2 | 1 | 1 | 1
8 | Dismantle Small Outdoor Enclosure (with accessories and cables) | ACT_1_554522 | GNA3053911/T23 | Dismantle small enclosureรื้อตู้ขนาดเล็ก | Cabinet | 400 | 1
9 | AC PSU in Microcell (UPS similar) | ACT_1_554542 | GNA3053915/T23 | Dismantle AC PSU in Microcell | Set | 200
10 | Dismantle GPS and cables | ACT_1_554543 | GNA3053916/T23 | Dismantle GPS and cablesถอด GPS และสายเคเบิล | Set | 200 | 1 | 1 | 1
11 | Dismantle of IPRAN + ODF | ACT_1_554544 | GNA3053917/T23 | Dismantle of IPRAN + ODF การรื้อ IPRAN + ODF | Site | 500 | 1 | 1 | 1 | 1
12 | Dismantle Antenna mounting Single/Dual/Tripple mount | ACT_1_554520 | GNA3053909/T23 | Dismantle Mounting การติดตั้งรื้อถอน | Set | 600 | 5 | 5 | 4 | 5
13 | Dismantle coaxial feeder | ACT_1_554519 | GNA3053908/T23 | Dismantle coaxial feeder | feed | 100
15 | Dismantle MW system (complete system) MW antenna with IDU, ODU with cables and accessories (dia 30 - 60 cm) | ACT_1_554545 | GNA3053918/T23 | Dismantle MW system dia 30 - 60 cm | Per site | 4000
C | Transportation from ASP WH to Ericsson Region WH
| รับของคืนของที่ออฟฟิช |  |  |  |  | 500 | 1 | 1 | 1 | 1
| Total Site Dismantle Price | [5 empty] | 14700 | 15400 | 12400 | 16400
เงื่อนไข :ตั้งเบิกก่อนวันอังคาร ออกวันศุกร์ (ตั้งเบิกวันพุธ จะ ออกวันศุกร์ ของอาทิตย์ต่อไป) ถ้าวันศุกร์ตรงกับวันหยุด จะต้องเลื่อนออกไปในวันทำการ
1.วางบิล 60% ติดตั้งแล้วเสร็จทั้งหมด และทำการ commisioning ระบบ แล้วเสร็จ
**หมายเหตุกรณีที่รูปหน้างานในอัลบั้มไม่ครบสำหรับการทำเล่ม จะไม่สามารถ วางบิล20% ได้ จะเบิกได้เมื่อมีข้อมูลทำเล่ม PAT สมบูรณ์แล้ว**
2. วางบิล 20% เมื่อทำการ ส่งงาน และแก้ไข Defficiency แล้วเสร็จ
3. ทางบริษัท จะทำการภาษี 3% ต่อทีมงานได่ที่ต้อง